## Slide 1
Quantitative Proteomics:
Approaches and Current Capabilities
Pathway Tools Workshop
Chris Becker
Physical Sciences Division October 27, 2010

## Slide 2: There have been and can still be problems with large scale genomic and metabolomic measurements. What about proteomics?

## Slide 3
Volume 359, Issue 9306, Pages 572 - 577, 16 February 2002
Use of proteomic patterns in serum to identify ovarian cancer
authors Emanuel F Petricoin … Lance A Liotta
What many/most scientists know about proteomics,
even if they don’t know about this publication.
Notes: 3

## Slide 4: How do researchers differentially quantify proteins?
2-D Gels
Isotopic labeling
  iTraq (commercial reagent for tagging amine groups on lysine; read-out via MS/MS)
  SILAC (stable isotope labeling with amino acids in cell culture)
Label-free quantification

## Slide 5: Label-Free Differential Profiling
Two types of label-free quantification:
  Intensity based or MS1 or MS-only
  Spectral counting (some minor variations; must re-ID each sample)
Our research group provided an early description of the approach of using signal intensities of label-free peptides and metabolites for LC-MS for quantification, including normalization.
  ASMS 2002 Meeting
  Wang et al. Analytical Chemistry 75:4818-4826 (2003)
Overcame a bias that only isotopic labeling or gel imaging could provide a quantification basis. Worry was matrix effects; the answer was to use significant chromatography times and comparing similar samples.

## Slide 6: Label-Free Differential Profiling: easy to understand
Sample A
Sample B
What’s different between these two samples?

## Slide 7: Label-Free Differential Profiling
Sample A
Sample B, more dilute and/or instrument losing some sensitivity over the course of a study

## Slide 8: Typical spectral complexity: 1 sample in 2 minutes
Scans separated by 30 sec
Narrow 100 m/z range

## Slide 9: Association of Biomolecular Resource Facilities (ABRF) Proteomics Research Group PRG2007 Study Objectives
What methods are used in the community for assessing differences between complex mixtures?
How well established are quantitative methodologies in the community?
What is the accuracy of the quantitative data acquired in core facilities?
We wanted to build upon last years study by providing samples that were more complicated, yet more realistic.
http://www.abrf.org/prg

## Slide 10: Sample Design:
Sample A
Sample B
Sample C
100 µg E. coli lysate
12 Total Protein Spikes
- 10 Non-E. coli proteins
- 2 E. coli proteins
100 µg E. coli lysate
12 Total Protein Spikes
- 10 Non-E. coli proteins
- 2 E. coli proteins
100 µg E. coli lysate
12 Total Protein Spikes
- 10 Non-E. coli proteins
- 2 E. coli proteins
Spikes at Different Levels and Ratios
Identical

## Slide 11: Techniques Applied

## Slide 12: Performance of Various Proteomics Approaches Results from 36 Laboratories: True Positives vs False Positives
Note performance overall of label-free (yellow) results
Becker
lab

## Slide 13
Performance of Various Proteomics Approaches Results from 36 Laboratories: True Positives vs False Positives
Note performance overall of label-free (yellow) results

## Slide 14
Quantitative Accuracy: Ubiquitin
Color Indicates Method Used
iTRAQ
ICPL
ICAT
18O Labeling
Label Free
Label Free + targeted SRM
2D-Gels (nonDIGE)
2D-DIGE
B/A Ratio
8
2D Gels
Label-Free
Stable Isotope Labeling
Anticipated Mole Ratio 4.6
6
2
0
4
A = 5 pmol
B = 23 pmol

## Slide 15: Quantitative Accuracy: Glucose Oxidase
Color Indicates Method Used
iTRAQ
ICPL
ICAT
18O Labeling
Label Free
Label Free + targeted SRM
2D-Gels (nonDIGE)
2D-DIGE
B/A Ratio
1
2D Gels
Label Free
Stable Isotope Labeling
Anticipated Mole Ratio 0.67
0.8
0.4
0.2
0.6
0
A = 0.5 pmol
B = 0.33 pmol

## Slide 16: Reproducibility Testing: Process and Instrument Variation Workflow
Pooled
human serum
1
2
3
4
5
n
Sample aliquots
are processed
Processed samples
are pooled before
analysis and
replicates are run
IQC –Instrument QC
Variation due to the
LC and Mass Spec
Processed samples
are run individually
PQC –Process QC
Variation due to sample
processing in addition to
the LC and Mass Spec
Sample Processing
LC-MS

## Slide 17
6% median CV
8% mean CV
14% median CV
17% mean CV
IQC samples
Instrument Variation
PQC samples
Processing
plus Instrument
Variation
Proteome QC Report extracted from a 4-batch human plasma study
(~8000 components)

## Slide 18
Example of quantification and the effect of a PTM, oxidation. In CSF.

## Slide 19: Typical Metrics for Proteomics
Coefficients of variations ~ 20%
Accuracy ~ 20%
One-dimensional (1D) analysis
  Track, identify and quantify approximately 1,000 proteins.
Two-dimensional (2D) analysis
  Track, identify and quantify approximately 2,000 proteins.
False discovery rate < 1% for identification (decoy database)
False discovery rate p-value < 0.01 for differential expression (Benjamini Hochberg, Storey)